## Slide 1: DRAFT FINAL REPORT ON HYDRO-GEOLOGICAL SURVEY UNDER MIRSHARAI UPAZILA DEVELOPMENT PLAN (MUDP)
URBAN DEVELOPMENT DIRECTORATE (UDD)
Ministry of Housing and Public Works
Government of the People’s Republic of Bangladesh
Center for Geoservices and Research
Flat# GCA (Gr. Floor), House # 409,
Road # 06, Mirpur DOHS, Dhaka-1216.
Presented By
Date: 14th October, 2018

## Slide 2
Digital Elevation Model of the study area (Source:UDD) along with the locations of the monitoring wells

## Slide 3
3D model of aquifer architecture

## Slide 4
Isopach map of the shallow (1st) aquifer

## Slide 5
Isopach map of the intermediate (2nd) aquifer

## Slide 6
Isopach map of the deep aquifer

## Slide 7
Cross section showing the vertical distribution of aquifer and aquitard

## Slide 8
Fence diagram showing aquifer framework in the study area

## Slide 9
Groundwater level contour of the shallow aquifer and deep aquifer

## Slide 10
Groundwater level contour of the shallow aquifer and deep aquifer

## Slide 11
Hydraulic properties derived from Grain Size analysis
Aquifer No. | Method |  |  |  |  |  |  | 
 | Slug Test |  |  |  | Grain Size Analysis |  |  | 
 | No. of Data | K [m/d] |  |  | No. of Data | K [m/d] |  | 
 |  | Average | Min. | Max. |  | Average | Min. | Max.
Aquifer-1 | 5 | 6.61 | 0.87 | 9.3 | 33 | 5.82 | 1.6 | 19
Aquifer-2 | Nill | - | - | - | 34 | 4.6 | 0.5 | 22
Aquifer-3 | 6 | 4.75 | 1 | 8.45 | 32 | 1.15 | 0.5 | 4.2

## Slide 12
Vertical Electrical Sounding Locations in the project area

## Slide 13
Vertical Electrical Sounding Output
Rho [ohm-m] | Thickness [m] | Depth [m] | Lithology
9.34 | 1 | 1 | Top soil
1.43-3.27 | 34 | 35 | Brackish Sand
13.3 | 50 | 86 | Clay
72.5 | 22 | 108 | FW Sand

## Slide 14
Resistivity pseudo section in north (VES-1) to south (VES-13) direction showing the extent of the brackish water in the shallow aquifer

## Slide 15
Water sampling and testing location map

## Slide 16
Shallow Aquifer Water quality
MgCO3-HCO3 type to NaCl type
MgCO3-HCO3 type indicates recently recharged water
NaCl type indicates seawater intrusion

## Slide 17
Deep Aquifer Water quality
Ca-K-Mg-CO3-HCO3 type indicates no effect
of seawater intrusion.
Na/K to Mg indicates longer residence time of water

## Slide 18
Salinity map of Shallow and deep aquifer

## Slide 19
Arsenic Distribution map in Shallow aquifers

## Slide 20
Arsenic Distribution map in Deep aquifers

## Slide 21
Major basin/watershed identified in the project area.

## Slide 22
Prospective artificial reservoir locations

## Slide 23
Groundwater Model Setup and discretization
The model consists of 345 rows and 210 columns, each 100 m in length and width, respectively,
resulting in a total number of 72450 cells per layer

## Slide 24
Model layers and their hydraulic conductivities

## Slide 25
Model simulated hydraulic head for- a) Shallow aquifer, b) intermediate aquifer, and c) the deep aquifer

## Slide 26
Model simulated recharge rate in the study area

## Slide 27
THANK YOU VERY MUCH!